## Data Entry
Current Year
| Fire Drill | Smoke Detector | Pull Station | Sprinkler Head | Flow Alarms | Working Fire | Gas Leak | Gas/Smoke Odor | Duct Detector | ILSM Drill
January | 6 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
February | 12 | 2 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 |  | Fire Drill | Smoke Detector | Pull Station | Sprinkler Head | Flow Alarms | Working Fire | Gas Leak | Gas/Smoke Odor | Duct Detector | ILSM Drill
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Q1 Total | 18 | 5 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Total Jan Events | 10 | Total Feb Events | 18 | Total Mar Events | 0 | Total Q1 Events | 28
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Q2 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Total Apr Events | 0 | Total May Events | 0 | Total Jun Events | 0 | Total Q2 Events | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Q3 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Total Jul Events | 0 | Total Aug Events | 0 | Total Sep Events | 0 | Total Q3 Events | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Q4 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Total | 18 | 5 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 |  | Total Oct Events | 0 | Total Nov Events | 0 | Total Dec Events | 0 | Total Q4 Events | 0
Previous Year
| Fire Drill | Smoke Detector | Pull Station | Sprinkler Head | Flow Alarms | Working Fire | Gas Leak | Gas/Smoke Odor | Duct Detector | ILSM Drill
January | 4 | 5 | 0 | 0 | 3 | 1 | 0 | 0 | 0 | 0
February | 13 | 2 | 1 | 0 | 2 | 1 | 0 | 0 | 0 | 0 |  | Fire Drill | Smoke Detector | Pull Station | Sprinkler Head | Flow Alarms | Working Fire | Gas Leak | Gas/Smoke Odor | Duct Detector
March | 14 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Q1 Total | 31 | 9 | 2 | 0 | 5 | 2 | 0 | 0 | 0 | 0
April | 4 | 4 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | Total Jan Events | 13 | Total Feb Events | 19 | Total Mar Events | 17 | Total Q1 Events | 49
May | 8 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0
June | 10 | 4 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | Q2 Total | 22 | 10 | 0 | 0 | 2 | 5 | 1 | 0 | 0 | 0
July | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 |  | Total Apr Events | 10 | Total May Events | 12 | Total Jun Events | 18 | Total Q2 Events | 40
August | 9 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1
September | 17 | 4 | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | Q3 Total | 26 | 10 | 4 | 0 | 1 | 1 | 0 | 2 | 0 | 1
October | 17 | 4 | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 0 |  | Total Jul Events | 5 | Total Aug Events | 14 | Total Sep Events | 26 | Total Q3 Events | 45
November | 17 | 4 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0
December | 20 | 4 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | Q4 Total | 54 | 12 | 3 | 0 | 6 | 2 | 0 | 1 | 1 | 0
Annual Total | 133 | 41 | 9 | 0 | 14 | 10 | 1 | 3 | 1 | 1 |  | Total Oct Events | 26 | Total Nov Events | 23 | Total Dec Events | 30 | Total Q4 Events | 79

## Q1 Summary
Type | January | February | March | Q1 Totals | Q1 PY Totals
Fire Drill | 6 | 12 | 0 | 18 | 31
Smoke Detector | 3 | 2 | 0 | 5 | 9
Pull Station | 0 | 0 | 0 | 1 | 2
Sprinkler Head | 0 | 0 | 0 | 0 | 0
Flow Alarms | 1 | 1 | 0 | 2 | 5
Working Fire | 0 | 1 | 0 | 1 | 2
Gas Leak | 0 | 1 | 0 | 1 | 0
Gas/Smoke Odor | 0 | 0 | 0 | 0 | 0
Duct Detector | 0 | 0 | 0 | 0 | 0
ILSM Drill | 0 | 0 | 0 | 0 | 0

## January
Type | Number
Fire Drill | 6
Smoke Detector | 3
Pull Station | 0
Sprinkler Head | 0
Flow Alarms | 1
Working Fire | 0
Gas Leak | 0
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0

## February
Type | Number
Fire Drill | 12
Smoke Detector | 2
Pull Station | 1
Sprinkler Head | 0
Flow Alarms | 1
Working Fire | 1
Gas Leak | 1
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0

## March
Type | Number
Fire Drill | 0
Smoke Detector | 0
Pull Station | 0
Sprinkler Head | 0
Flow Alarms | 0
Working Fire | 0
Gas Leak | 0
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0

## Q2 Summary
Type | April | May | June | Q2 Totals | Q2 PY Totals
Fire Drill | 0 | 0 | 0 | 0 | 22
Smoke Detector | 0 | 0 | 0 | 0 | 10
Pull Station | 0 | 0 | 0 | 0 | 0
Sprinkler Head | 0 | 0 | 0 | 0 | 0
Flow Alarms | 0 | 0 | 0 | 0 | 2
Working Fire | 0 | 0 | 0 | 0 | 5
Gas Leak | 0 | 0 | 0 | 0 | 1
Gas/Smoke Odor | 0 | 0 | 0 | 0 | 0
Duct Detector | 0 | 0 | 0 | 0 | 0
ILSM Drill | 0 | 0 | 0 | 0 | 0

## April
Type | Number
Fire Drill | 0
Smoke Detector | 0
Pull Station | 0
Sprinkler Head | 0
Flow Alarms | 0
Working Fire | 0
Gas Leak | 0
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0

## May
Type | Number
Fire Drill | 0
Smoke Detector | 0
Pull Station | 0
Sprinkler Head | 0
Flow Alarms | 0
Working Fire | 0
Gas Leak | 0
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0

## June
Type | Number
Fire Drill | 0
Smoke Detector | 0
Pull Station | 0
Sprinkler Head | 0
Flow Alarms | 0
Working Fire | 0
Gas Leak | 0
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0

## Q3 Summary
Type | July | August | September | Q3 Totals | Q3 PY Totals
Fire Drill | 0 | 0 | 0 | 0 | 26
Smoke Detector | 0 | 0 | 0 | 0 | 10
Pull Station | 0 | 0 | 0 | 0 | 4
Sprinkler Head | 0 | 0 | 0 | 0 | 0
Flow Alarms | 0 | 0 | 0 | 0 | 0
Working Fire | 0 | 0 | 0 | 0 | 1
Gas Leak | 0 | 0 | 0 | 0 | 0
Gas/Smoke Odor | 0 | 0 | 0 | 0 | 2
Duct Detector | 0 | 0 | 0 | 0 | 0
ILSM Drill | 0 | 0 | 0 | 0 | 1

## July
Type | Number
Fire Drill | 0
Smoke Detector | 0
Pull Station | 0
Sprinkler Head | 0
Flow Alarms | 0
Working Fire | 0
Gas Leak | 0
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0

## August
Type | Number
Fire Drill | 0
Smoke Detector | 0
Pull Station | 0
Sprinkler Head | 0
Flow Alarms | 0
Working Fire | 0
Gas Leak | 0
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0

## September
Type | Number
Fire Drill | 0
Smoke Detector | 0
Pull Station | 0
Sprinkler Head | 0
Flow Alarms | 0
Working Fire | 0
Gas Leak | 0
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0

## Q4 Summary
Type | October | November | December | Q4 Totals | Q4 PY Totals
Fire Drill | 0 | 0 | 0 | 0 | 54
Smoke Detector | 0 | 0 | 0 | 0 | 12
Pull Station | 0 | 0 | 0 | 0 | 3
Sprinkler Head | 0 | 0 | 0 | 0 | 0
Flow Alarms | 0 | 0 | 0 | 0 | 6
Working Fire | 0 | 0 | 0 | 0 | 2
Gas Leak | 0 | 0 | 0 | 0 | 0
Gas/Smoke Odor | 0 | 0 | 0 | 0 | 1
Duct Detector | 0 | 0 | 0 | 0 | 1
ILSM Drill | 0 | 0 | 0 | 0 | 0

## October
Type | Number
Fire Drill | 0
Smoke Detector | 0
Pull Station | 0
Sprinkler Head | 0
Flow Alarms | 0
Working Fire | 0
Gas Leak | 0
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0

## November
Type | Number
Fire Drill | 0
Smoke Detector | 0
Pull Station | 0
Sprinkler Head | 0
Flow Alarms | 0
Working Fire | 0
Gas Leak | 0
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0

## December
Type | Number
Fire Drill | 0
Smoke Detector | 0
Pull Station | 0
Sprinkler Head | 0
Flow Alarms | 0
Working Fire | 0
Gas Leak | 0
Gas/Smoke Odor | 0
Duct Detector | 0
ILSM Drill | 0