## Monthly Summary
2022 Monthly Summary | January | February | March | April | May | June | July | August | September | October | November | December | YTD Average
Staff identified which patients need to be moved from the fire area. | January: 100%; February: 100%; March: 97% | 99%
Staff knew where to move the patient(s) rescued from danger. | January: 100%; February: 97%; March: 92% | 96.33%
Staff could identify horizontal evacuation routes from their smoke compartment. | January: 100%; February: 95%; March: 89% | 94.67%
Corridors are cleared of equipment. | January: 100%; February: 89%; March: 89% | 92.67%
Staff can identify location of fire alarm pull stations in their work unit. | January: 100%; February: 95%; March: 92% | 95.67%
Staff know emergency number. (2-3333) | January: 0%; February: 95%; March: 83% | 59.33%
Door to room of fire origin was closed. | January: 100%; February: 100%; March: 100% | 100%
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation. | January: 50%; February: 87%; March: 86% | 74.33%
Corridor doors were not blocked and closed along with all patient room doors closed. | January: 50%; February: 84%; March: 94% | 76%
Staff obtained a fire extinguisher. | January: 0%; February: 100%; March: 100% | 66.67%
Staff can describe how a fire extinguisher works. | January: 50%; February: 100%; March: 97% | 82.33%
Staff knows locations of all extinguishers on unit. | January: 50%; February: 100%; March: 92% | 80.67%
Does staff have knowledge of locations of medical gas shut off valves. | January: 100%; February: 89%; March: 94% | 94.33%
Did staff know which valve controls which gases and who has the authority to shut off. | January: 100%; February: 74%; March: 89% | 87.67%

## Quarterly Summary
2022 Quarterly Summary | Q1 | Q2 | Q3 | Q4 | YTD Average
Staff identified which patients need to be moved from the fire area. | 99% |  |  |  | 99%
Staff knew where to move the patient(s) rescued from danger. | 95% |  |  |  | 95%
Staff could identify horizontal evacuation routes from their smoke compartment. | 92% |  |  |  | 92%
Corridors are cleared of equipment. | 89% |  |  |  | 89%
Staff can identify location of fire alarm pull stations in their work unit. | 93% |  |  |  | 93%
Staff know emergency number. (2-3333) | 87% |  |  |  | 87%
Door to room of fire origin was closed. | 100% |  |  |  | 100%
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation. | 86% |  |  |  | 86%
Corridor doors were not blocked and closed along with all patient room doors closed. | 88% |  |  |  | 88%
Staff obtained a fire extinguisher. | 97% |  |  |  | 97%
Staff can describe how a fire extinguisher works. | 97% |  |  |  | 97%
Staff knows locations of all extinguishers on unit. | 95% |  |  |  | 95%
Does staff have knowledge of locations of medical gas shut off valves. | 92% |  |  |  | 92%
Did staff know which valve controls which gases and who has the authority to shut off. | 82% |  |  |  | 82%

## Annual Summary
2022 Annual Summary
Staff identified which patients need to be moved from the fire area. | 99%
Staff knew where to move the patient(s) rescued from danger. | 95%
Staff could identify horizontal evacuation routes from their smoke compartment. | 92%
Corridors are cleared of equipment. | 89%
Staff can identify location of fire alarm pull stations in their work unit. | 93%
Staff know emergency number. (2-3333) | 87%
Door to room of fire origin was closed. | 100%
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation. | 86%
Corridor doors were not blocked and closed along with all patient room doors closed. | 88%
Staff obtained a fire extinguisher. | 97%
Staff can describe how a fire extinguisher works. | 97%
Staff knows locations of all extinguishers on unit. | 95%
Does staff have knowledge of locations of medical gas shut off valves. | 92%
Did staff know which valve controls which gases and who has the authority to shut off. | 82%

## Data Log
January |  |  | Sum Total | Max Possible | Score | 2023-01-31
H2B
Staff identified which patients need to be moved from the fire area |  |  | 2 | 2 | 100% | 2
Staff knew where to move the patient(s) rescued from danger |  |  | 2 | 2 | 100% | 2
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 2 | 2 | 100% | 2
Corridors are cleared of equipment |  |  | 2 | 2 | 100% | 2
Staff can identify location of fire alarm pull stations in their work unit |  |  | 2 | 2 | 100% | 2
Staff know emergency number (2-3333) |  |  | 0 | 2 | 0% | 0
Door to room of fire origin was closed |  |  | 2 | 2 | 100% | 2
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 1 | 2 | 50% | 1
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 1 | 2 | 50% | 1
Staff obtained a fire extinguisher |  |  | 0 | 2 | 0% | 0
Staff can describe how a fire extinguisher works |  |  | 1 | 2 | 50% | 1
Staff knows locations of all extinguishers on unit |  |  | 1 | 2 | 50% | 1
Does staff have knowledge of locations of medical gas shut off valves |  |  | 2 | 2 | 100% | 2
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 2 | 2 | 100% | 2
| Number of Drills Completed | 1 | Drill Score |  |  | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
February |  |  | Sum Total | Max Possible | Score | 2023-02-23 | 2023-02-23 | 2023-02-23 | 2023-02-23 | 2023-02-23 | 2023-02-14 | 2023-02-14 | 2023-02-14 | 2023-02-02 | 2023-02-02 | 2023-02-21 | 2023-02-21 | 2023-02-21 | 2023-02-21 | 2023-02-21 | 2023-02-09 | 2023-02-09 | 2023-02-09 | 2023-02-09
[6 empty] | H4B | H4A | H5B | H5A | H5 Fetal | C4C | J5 C5B | J4B | C4A | C5A | H7A | H7B | H5B | H5A | H5A Fetal | H9B | H10B | H10A | H9A
Staff identified which patients need to be moved from the fire area |  |  | 38 | 38 | 100% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Staff knew where to move the patient(s) rescued from danger |  |  | 37 | 38 | 97% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 36 | 38 | 95% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 2
Corridors are cleared of equipment |  |  | 34 | 38 | 89% | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 2
Staff can identify location of fire alarm pull stations in their work unit |  |  | 36 | 38 | 95% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 1 | 2 | 2
Staff know emergency number (2-3333) |  |  | 36 | 38 | 95% | 2 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Door to room of fire origin was closed |  |  | 38 | 38 | 100% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 33 | 38 | 87% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 2 | 1 | 2 | 2 | 1 | 1 | 2
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 32 | 38 | 84% | 2 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 2 | 0
Staff obtained a fire extinguisher |  |  | 38 | 38 | 100% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Staff can describe how a fire extinguisher works |  |  | 38 | 38 | 100% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Staff knows locations of all extinguishers on unit |  |  | 38 | 38 | 100% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Does staff have knowledge of locations of medical gas shut off valves |  |  | 34 | 38 | 89% | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 28 | 38 | 74% | 2 | 0 | 2 | 2 | 2 | 0 | 2 | 2 | 2 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2
| Number of Drills Completed | 19 | Drill Score |  |  | 26 | 24 | 24 | 28 | 28 | 25 | 28 | 27 | 28 | 26 | 25 | 25 | 28 | 26 | 28 | 28 | 22 | 24 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
March |  |  | Sum Total | Max Possible | Score | 2023-03-01 | 2023-03-01 | 2023-03-06 | 2023-03-06 | 2023-03-08 | 2023-03-08 | 2023-03-08 | 2023-03-08 | 2023-03-14 | 2023-03-14 | 2023-03-14 | 2023-03-14 | 2023-03-16 | 2023-03-16 | 2023-03-16 | 2023-03-16 | 2023-03-21 | 2023-03-21
[6 empty] | C4B | C4C | C5A | C4A | M Res Quarters | H8B | H8A | H7B | H7B | H5A Fetal | H5A | H5B | H11A | H12A | H11B | H12B | C4A | C5A
Staff identified which patients need to be moved from the fire area |  |  | 35 | 36 | 97% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2
Staff knew where to move the patient(s) rescued from danger |  |  | 33 | 36 | 92% | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 32 | 36 | 89% | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1
Corridors are cleared of equipment |  |  | 32 | 36 | 89% | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Staff can identify location of fire alarm pull stations in their work unit |  |  | 33 | 36 | 92% | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1
Staff know emergency number (2-3333) |  |  | 30 | 36 | 83% | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 2
Door to room of fire origin was closed |  |  | 36 | 36 | 100% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 31 | 36 | 86% | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 0 | 1
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 34 | 36 | 94% | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Staff obtained a fire extinguisher |  |  | 36 | 36 | 100% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Staff can describe how a fire extinguisher works |  |  | 35 | 36 | 97% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2
Staff knows locations of all extinguishers on unit |  |  | 33 | 36 | 92% | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1
Does staff have knowledge of locations of medical gas shut off valves |  |  | 34 | 36 | 94% | 2 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 32 | 36 | 89% | 2 | 2 | 2 | 2 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0
| Number of Drills Completed | 18 | Drill Score |  |  | 20 | 19 | 26 | 28 | 28 | 26 | 28 | 28 | 27 | 28 | 28 | 28 | 28 | 28 | 27 | 28 | 20 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April |  |  | Sum Total | Max Possible | Score
Staff identified which patients need to be moved from the fire area |  |  | 0 | 0
Staff knew where to move the patient(s) rescued from danger |  |  | 0 | 0
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 0 | 0
Corridors are cleared of equipment |  |  | 0 | 0
Staff can identify location of fire alarm pull stations in their work unit |  |  | 0 | 0
Staff know emergency number (2-3333) |  |  | 0 | 0
Door to room of fire origin was closed |  |  | 0 | 0
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 0 | 0
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 0 | 0
Staff obtained a fire extinguisher |  |  | 0 | 0
Staff can describe how a fire extinguisher works |  |  | 0 | 0
Staff knows locations of all extinguishers on unit |  |  | 0 | 0
Does staff have knowledge of locations of medical gas shut off valves |  |  | 0 | 0
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 0 | 0
| Number of Drills Completed | 0 | Drill Score |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
May |  |  | Sum Total | Max Possible | Score
Staff identified which patients need to be moved from the fire area |  |  | 0 | 0
Staff knew where to move the patient(s) rescued from danger |  |  | 0 | 0
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 0 | 0
Corridors are cleared of equipment |  |  | 0 | 0
Staff can identify location of fire alarm pull stations in their work unit |  |  | 0 | 0
Staff know emergency number (2-3333) |  |  | 0 | 0
Door to room of fire origin was closed |  |  | 0 | 0
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 0 | 0
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 0 | 0
Staff obtained a fire extinguisher |  |  | 0 | 0
Staff can describe how a fire extinguisher works |  |  | 0 | 0
Staff knows locations of all extinguishers on unit |  |  | 0 | 0
Does staff have knowledge of locations of medical gas shut off valves |  |  | 0 | 0
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 0 | 0
| Number of Drills Completed | 0 | Drill Score |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
June |  |  | Sum Total | Max Possible | Score
Staff identified which patients need to be moved from the fire area |  |  | 0 | 0
Staff knew where to move the patient(s) rescued from danger |  |  | 0 | 0
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 0 | 0
Corridors are cleared of equipment |  |  | 0 | 0
Staff can identify location of fire alarm pull stations in their work unit |  |  | 0 | 0
Staff know emergency number (2-3333) |  |  | 0 | 0
Door to room of fire origin was closed |  |  | 0 | 0
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 0 | 0
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 0 | 0
Staff obtained a fire extinguisher |  |  | 0 | 0
Staff can describe how a fire extinguisher works |  |  | 0 | 0
Staff knows locations of all extinguishers on unit |  |  | 0 | 0
Does staff have knowledge of locations of medical gas shut off valves |  |  | 0 | 0
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 0 | 0
| Number of Drills Completed | 0 | Drill Score |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
July |  |  | Sum Total | Max Possible | Score
Staff identified which patients need to be moved from the fire area |  |  | 0 | 0
Staff knew where to move the patient(s) rescued from danger |  |  | 0 | 0
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 0 | 0
Corridors are cleared of equipment |  |  | 0 | 0
Staff can identify location of fire alarm pull stations in their work unit |  |  | 0 | 0
Staff know emergency number (2-3333) |  |  | 0 | 0
Door to room of fire origin was closed |  |  | 0 | 0
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 0 | 0
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 0 | 0
Staff obtained a fire extinguisher |  |  | 0 | 0
Staff can describe how a fire extinguisher works |  |  | 0 | 0
Staff knows locations of all extinguishers on unit |  |  | 0 | 0
Does staff have knowledge of locations of medical gas shut off valves |  |  | 0 | 0
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 0 | 0
| Number of Drills Completed | 0 | Drill Score |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
August |  |  | Sum Total | Max Possible | Score
Staff identified which patients need to be moved from the fire area |  |  | 0 | 0
Staff knew where to move the patient(s) rescued from danger |  |  | 0 | 0
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 0 | 0
Corridors are cleared of equipment |  |  | 0 | 0
Staff can identify location of fire alarm pull stations in their work unit |  |  | 0 | 0
Staff know emergency number (2-3333) |  |  | 0 | 0
Door to room of fire origin was closed |  |  | 0 | 0
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 0 | 0
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 0 | 0
Staff obtained a fire extinguisher |  |  | 0 | 0
Staff can describe how a fire extinguisher works |  |  | 0 | 0
Staff knows locations of all extinguishers on unit |  |  | 0 | 0
Does staff have knowledge of locations of medical gas shut off valves |  |  | 0 | 0
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 0 | 0
| Number of Drills Completed | 0 | Drill Score |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
September |  |  | Sum Total | Max Possible | Score
Staff identified which patients need to be moved from the fire area |  |  | 0 | 0
Staff knew where to move the patient(s) rescued from danger |  |  | 0 | 0
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 0 | 0
Corridors are cleared of equipment |  |  | 0 | 0
Staff can identify location of fire alarm pull stations in their work unit |  |  | 0 | 0
Staff know emergency number (2-3333) |  |  | 0 | 0
Door to room of fire origin was closed |  |  | 0 | 0
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 0 | 0
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 0 | 0
Staff obtained a fire extinguisher |  |  | 0 | 0
Staff can describe how a fire extinguisher works |  |  | 0 | 0
Staff knows locations of all extinguishers on unit |  |  | 0 | 0
Does staff have knowledge of locations of medical gas shut off valves |  |  | 0 | 0
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 0 | 0
| Number of Drills Completed | 0 | Drill Score |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
October |  |  | Sum Total | Max Possible | Score
Staff identified which patients need to be moved from the fire area |  |  | 0 | 0
Staff knew where to move the patient(s) rescued from danger |  |  | 0 | 0
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 0 | 0
Corridors are cleared of equipment |  |  | 0 | 0
Staff can identify location of fire alarm pull stations in their work unit |  |  | 0 | 0
Staff know emergency number (2-3333) |  |  | 0 | 0
Door to room of fire origin was closed |  |  | 0 | 0
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 0 | 0
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 0 | 0
Staff obtained a fire extinguisher |  |  | 0 | 0
Staff can describe how a fire extinguisher works |  |  | 0 | 0
Staff knows locations of all extinguishers on unit |  |  | 0 | 0
Does staff have knowledge of locations of medical gas shut off valves |  |  | 0 | 0
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 0 | 0
| Number of Drills Completed | 0 | Drill Score |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
November |  |  | Sum Total | Max Possible | Score
Staff identified which patients need to be moved from the fire area |  |  | 0 | 0
Staff knew where to move the patient(s) rescued from danger |  |  | 0 | 0
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 0 | 0
Corridors are cleared of equipment |  |  | 0 | 0
Staff can identify location of fire alarm pull stations in their work unit |  |  | 0 | 0
Staff know emergency number (2-3333) |  |  | 0 | 0
Door to room of fire origin was closed |  |  | 0 | 0
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 0 | 0
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 0 | 0
Staff obtained a fire extinguisher |  |  | 0 | 0
Staff can describe how a fire extinguisher works |  |  | 0 | 0
Staff knows locations of all extinguishers on unit |  |  | 0 | 0
Does staff have knowledge of locations of medical gas shut off valves |  |  | 0 | 0
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 0 | 0
| Number of Drills Completed | 0 | Drill Score |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
December |  |  | Sum Total | Max Possible | Score
Staff identified which patients need to be moved from the fire area |  |  | 0 | 0
Staff knew where to move the patient(s) rescued from danger |  |  | 0 | 0
Staff could identify horizontal evacuation routes from their smoke compartment |  |  | 0 | 0
Corridors are cleared of equipment |  |  | 0 | 0
Staff can identify location of fire alarm pull stations in their work unit |  |  | 0 | 0
Staff know emergency number (2-3333) |  |  | 0 | 0
Door to room of fire origin was closed |  |  | 0 | 0
Staff can identify at least 4 of the 8 individuals that can authorize total evacuation |  |  | 0 | 0
Corridor doors were not blocked and closed along with all patient room doors closed. |  |  | 0 | 0
Staff obtained a fire extinguisher |  |  | 0 | 0
Staff can describe how a fire extinguisher works |  |  | 0 | 0
Staff knows locations of all extinguishers on unit |  |  | 0 | 0
Does staff have knowledge of locations of medical gas shut off valves |  |  | 0 | 0
Did staff know which valve controls which gases and who has the authority to shut off |  |  | 0 | 0
| Number of Drills Completed | 0 | Drill Score |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0